新华联资源赞比亚公司
MACROLINK RESOURCES ZAMBIA LIMITED
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Mwekera Copper Mine, Ndola, Copperbelt Province, Zambia                             Email: macrolinkresources@gmail.com
Phone Number: 0969-598313 / 0973 -701968


TENDER NOTICE
17/08/2026
                                              Tender No. MRZTND263-0014
SUPPLY AND DELIVERY OF MEDIUM VOLTAGE CABLE ACCESSORIES

Our Company invites sealed tenders from eligible manufacturers or authorized distributors for the supply and delivery of high-quality **11kV 3-Core 35mm² Termination Kits**. The required kits must provide exceptional electrical insulation, environmental sealing, and mechanical protection for indoor or outdoor Medium Voltage (MV) power distribution networks. 2. Technical Specification
Technical Specifications 
All materials supplied under this contract must strictly adhere to international standards (e.g., IEC 60502-4, IEEE 48, BS 7888) and meet the following minimum parameters: 
• Voltage Rating: 11kV (Uo/U = 6.35/11kV up to 12kV maximum system voltage). 
[bookmark: _GoBack]• Cable Application: Designed for 3-Core, 35mm² copper or aluminum XLPE/PVC insulated, armored (SWA) or unarmored power cables.
 • Technology: Heat-shrinkable or cold-shrinkable type, complete with anti-tracking, stress-control tubes, and environmental sealing rain sheds. 
• Breakout Boot: Heavy-duty, track-resistant molded 3-way breakout boot pre-coated with hot-melt adhesive seal. 
• Lug Kit: Includes matching mechanical shear-bolt or compression lugs suitable for 35mm² conductors. • Earthing System: Must include a complete earthing kit (tinned copper braid, constant force springs, and armor clamps) for armor/shield continuity.
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Eligibility Requirements
Bidders must meet the following requirements:
· Be a legally registered company with valid business licenses;
· Have relevant experience in supplying similar products, preferably in the mining sector;
· Possess good commercial reputation with no record of major violations;
· Have the capacity to ensure timely delivery and provide after-sales support;
· Be able to issue valid invoices and provide product quality certifications.
Tender Submission
Bidders shall submit their proposals before the submission deadline. Late submissions will not be accepted.

Additional Information
The tender will be evaluated based on a comprehensive assessment;
The Company reserves the right to accept or reject any bid without assigning any reason;
Further details will be provided upon request.


Submission Deadline: [17/08/2026]
Contact:   Mr. Lewis 
Email:       macrolinkresources@gmail.com
Phone:     0969-598313








MACROLINK RESOURCES ZAMBIA LIMITED
Date: 17/08/2026
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Item N Description oM Est. Qty

1 11kV Outdoor Termination Kit, 3-Core, 35mm2, Heat/Cold Kit Lot/ As ordered
Shrinkable complete with earthing and lugs

2 11KV Indoor Termination Kit, 3-Core, 35mm?, Heat/Cold Kit Lot/ As ordered
Shrinkable complete with earthing and lugs




